## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | IBMS Software | 1 | 1 | 1 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | PLC | 1 | 1 | 1 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Lighting / A.C. control with Motion sensor | 1 | 1 | 1 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Fibre connectors | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | CCTV (Dome Camera) | 4 | 4 | 2 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | LAN connectors | 15 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Common Signal Connectors | 10 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Cable Termination tools | 6 | 6 | 6 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Fibre cable | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Flat cable | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | LAN cable | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Coaxial cable | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Signal cable | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Power cable | 10 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Crimping tools | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Relays | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Terminals | 1 | 1 | 1 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Junction Boxes | 3 | 3 | 3 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Line Fault Detectors | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Line tester | 10 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Starters | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Teflon tape | 3 | 3 | 3 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Insulation Tape | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Flux | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Solder | 3 | 3 | 3 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Hammer Drill machine | 3 | 3 | 3 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Soldering Iron | 3 | 3 | 3 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Wire cutter | 10 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Plier | 1 | 1 | 1 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Spanner set | 3 | 3 | 3 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Allen key set | 3 | 3 | 3 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Screw driver set | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Fire Detection Smoke Sensor | 2 | 2 | 2 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Sleeves | 3 | 3 | 3 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Cable trays | 9 | 9 | 9 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Cable Glands | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Cable tiles | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Ferrules | 15 | 15 | 15 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Reed Relays | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Lugs | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Bus Bars | 2 | 2 | 2 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Meggar 1000V | 1 | 1 | 1 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Megger | 2 | 2 | 2 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Hammer | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Hacksaw | 5 | 5 | 5 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Side wrench | 10 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Pipe wrench | 10 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Stripper | 10 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Nose plier | 10 | 10 | 10 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Smoke Mask & Respirators | 30 | 25 | 20 | Nos | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | HDMI/SVG Cable | 15 | 9 | 9 | Ft | Yes
Instrumentation, Automation, Surveillance & Communication Sector Skill Council | IAS/Q3006 | Building Automation Specialist | 5 | Markers | 1 | 1 | 1 | Nos | Yes