## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Heavy Weight Table (Wooden / Iron Framed) ( To be Fixed on Ground) of size 4'*4'*3' | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Wooden Desk for material procurment (6'*2'*3') | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Bench Vice (Fixed on Table) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pipe Vice (Fixed on Table) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pipe Wrench - 8 " | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pipe Wrench - 10 " | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pipe Wrench - 12 " | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Adjustable Spanner - 8" | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Adjustable Spanner - 10" | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Adjustable Spanner - 12" | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Double Ended Spanner Set | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Basin Wrench | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Parrot Plier | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Nose Plier | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Cutting Plier | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Screw Driver Set | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Hammer | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Meter Tape - 3m | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Insulation Tape | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Plastic Pipe Cutter | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Tube Cutter | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Hack Saw Frame | 5 | 5 | 5 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Hack Saw Blades | 20 | 20 | 20 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Torch Light | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Drill Machine | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Drill Bit Set | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Screw Set (Star) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Rawl Plug Set | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Nails Set | 200 | 200 | 200 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Tester | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Allen Key Set | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Flat File with Handle | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | PPR Fusion Machine | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pipe Reamer | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Teflon Tape | 20 | 20 | 20 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Thread Bundle | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Water Level Tube | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Spirit Level-12 inch | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Plumb Bob | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Tri Square | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Stainless Steel Scale - 1 ft | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Trowel | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Shovel | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Chisel | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Centre Punch | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Knife | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Plunger | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Pipe Ratchet Die Set | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Scotch Bite | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Safety Shoe (In Pairs) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Safety Belt | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Safety Glass | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Safety Gloves (Rubber) (In Pairs) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Safety Gloves (Cotton and Anti Cut) (In Pairs) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Safety Gloves (Heat Resistant) (In Pairs) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Ear Plug | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Helmet | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Ball Valve (1/2 inch) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Ball Valve (3/4 inch) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Ball Valve (1 inch) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Gate Valve | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Pipes (3/4 inch) | 12 | 12 | 12 | Meter | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Pipes (1 inch) | 12 | 12 | 12 | Meter | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Tee (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Tee (1 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Elbow (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Elbow (1 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Male Threaded Adapter (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Male Threaded Adapter (1 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Female Threaded Adapter (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Female Threaded Adapter (1 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Coupler (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Coupler (1 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Union (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Union (1 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Female Threaded Elbow (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Female Threaded Elbow (1 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Reducer (1 inch to 3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC End Cap (3/4 inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC End Cap (1/2 inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | CPVC Solvent Cement-237 ml | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Pipes (3/4 inch) | 12 | 12 | 12 | Meter | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Pipes (1/2 inch) | 12 | 12 | 12 | Meter | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Tee (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Tee (1/2 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Elbow (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Elbow (1/2 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Male Threaded Adapter (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Male Threaded Adapter (1/2 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Female Threaded Adapter (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Female Threaded Adapter (1/2 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Coupler (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Coupler (1/2 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Union (3/4 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Union (1/2 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Hex Nipple (3/4 inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Hex Nipple (1/2 inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI Reducer (3/4 Inch to 1/2 Inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI End Cap (3/4 inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | GI End Cap (1/2 inch) | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Composite Pipe (3/4 inch) | 24 | 24 | 24 | Meter | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Composite Tee (3/4 Inch) - Pushfit | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Composite Elbow (3/4 Inch) - Pushfit | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Composite Male Threaded Adapter (3/4 Inch) - Pushfit | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Composite Female Threaded Adapter (3/4 Inch) - Pushfit | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Composite Female Threaded Elbow (3/4 inch)- Pushfit | 10 | 10 | 10 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Pipe-110 mm | 12 | 12 | 12 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Pipe-75 mm | 12 | 12 | 12 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Pipe-50 mm or 40 mm | 12 | 12 | 12 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Sweep Tee (110 mm * 110 mm * 110 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Sweep Tee (75 mm * 75 mm * 75 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Tee (50 mm* 50 mm* 50 mm OR 40 mm* 40 mm* 40 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Y- Joint (110 mm * 110 mm * 110 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Y- Joint (75 mm * 75 mm * 75 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Y- Joint (50 mm* 50 mm* 50 mm OR 40 mm* 40 mm* 40 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Reducer Joint (110 mm-75 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Reducer Joint (75 mm - 50 mm OR 40 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Reducer Joint (110 mm-50 mm OR 40 mm) | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Elbow (89.5 degree) -110 mm | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Elbow (89.5 degree) -75 mm | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Elbow (89.5 degree) -50 mm OR 40 mm | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Vent Cowl -110 mm | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Vent Cowl -75 mm | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | SWR Vent Cowl -50 mm OR 40 mm | 4 | 4 | 4 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | UPVC Solvent Cement-100 ml | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Connection Pipe | 5 | 5 | 5 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Angle Cock (Single End) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Angle Cock (Double End) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Bib Cock | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Jali for Drainage | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | White Pooty | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Notepad | 30 | 30 | 30 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pen | 30 | 30 | 30 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pencil | 30 | 30 | 30 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Eraser | 30 | 30 | 30 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Sharpener | 30 | 30 | 30 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | White Board / Black Board | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | White Board Marker / Chalk (Blue) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | White Board Marker / Chalk (Black) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | White Board Marker / Chalk (Red) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Black Board Chalk (White) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | White Board / Black Board Duster | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Cotton Clothes | 1 | 1 | 1 | Meter | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Monobloc Pump (0.5 HP) | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Submersible Pump (1 HP) | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Open Well Pump (1 HP) | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Centrifugal 10 D Pump (1 HP) | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Shallow Well Pump (1 HP) | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Double ended flat spanner | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Double ended ring spanner | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Combination pliers | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Side cutting pliers | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Wire stripper | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Electrician knife | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Hand crimping tools | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Cable cutter | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Standard wire gauge | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Vernier Calliper | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Line Dori | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | PVC Mallet | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Ball Pin Hammer | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Fuse Puller | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Reflective Jacket | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Clamp Meter | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Multi Meter (Digital) | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Megger | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Earth Tester | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | TDS Meter | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Earthing Rod | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Soldering Iron & Flux | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Phase Sequence Meter | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Pyranometer | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Wire cutters | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Wire strippers | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Insulating paper and wooden/ insulating stick | 5 | 5 | 5 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | First aid kit. | 1 | 1 | 1 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Impeller | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Bearing | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Control Panel and Components | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Solar Collector | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Insulated Tank | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Solar Panels and Tubes | 2 | 2 | 2 | Nos | Yes
Water Management & Plumbing Skill Council | PSC/Q0120 | Water Distribution System (Multi-Skill) | 4 | Wires as Per Manufacture Specifications | 90 | 90 | 90 | Ft | Yes