## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Chairs/Tables | 30 | 25 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Computer with internet | 15 | 10 | 10 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | LCD projector with screen | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Trainer chair and Table | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Demonstration table pin up boards | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | white board with marker | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Pre Treatment Line Consisting Of Degreasing Phosphating & Passivation Facility | 7 | 7 | 7 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | All type of chemicals for pretreatment | 30 | 30 | 30 | No's | Yes | 30 Each
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | R.O & D.M Water | 5000 | 5000 | 5000 | Unit | Yes | 5000L
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paintingbooth (4'x6'x10') approx with water screen facility | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Transfer Pump | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Spray Gun | 4 | 4 | 4 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Hose For Spray Gun | 20 | 20 | 20 | No's | Yes | 20 M
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Pressure Gauges | 10 | 10 | 10 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Mixing Room | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paints,Primers & Thinners | 30 | 30 | 30 | liter | Yes | 30L Each
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Viscosity,Testing Meter | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Stop Watch | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Stirrer | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Container | 5 | 5 | 5 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Sand Paper Of Different Grades | 20 | 20 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Masking Tapes | 5 | 5 | 5 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Tool Kit | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Air Blow Gun | 2 | 2 | 2 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Vaccum Machine | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Infrared Drier | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Gun Cleaning System | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Gun Stand | 2 | 2 | 2 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Sealant Gun | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Mixing Sacle | 8 | 8 | 8 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Digital Weighing Machine | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Tag Rag | 10 | 10 | 10 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Hangers For Holding Components | 20 | 20 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Painting Table | 2 | 2 | 2 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Simulator | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Defective Parts With (Dust, Dry Flow ) | 10 | 10 | 10 | No's | Yes | 10 Each
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Samples Of Different Type Of Points Ie. Synthetic,Nc Parts & Pu Base Points | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Process Flow Charts Showing Pretreatment Details & Parameters | 1 | 1 | 1 | liter | Yes | 1L
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Process Flow Charts Showing Painting Process & Parameters | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Baking Oven | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Inspection Booth With Sufficient Light(700 Lux) | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Paint Thickness Tester | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Pencil For Scratch Resistance Test | 2 | 2 | 2 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Adhesion Tester With Tape(Cutter,Knife) | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Salt Spray Tester | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Lab Equipment Beakers/Pipette | 10 | 10 | 10 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Conductivity Meter | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Fire Extinguisher | 2 | 2 | 2 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | First Aid Kit | 1 | 1 | 1 | No. | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Safety Gloves(Leather) | 30 | 25 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Ear Plugs | 30 | 25 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Safety Shoes | 30 | 25 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Goggles | 30 | 25 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Booth Mask | 30 | 25 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Nose Mask | 30 | 25 | 20 | No's | Yes
Automotive | ASC/Q3304 | Automotive Body Painting Technician Level 4 | 3 | Cap For Head | 30 | 25 | 20 | No's | Yes