## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Wooden Pegs | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | pointing Trowel | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | ladder | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Sand buckets | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Safety message boards | 5 | 5 | 6 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Fire extinguishers | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Reflective jackets | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | goggles | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Safety belt | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | cotton hand gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | safety shoes | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | screws | 100 | 100 | 100 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | helmet | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | clamps for conduits | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Hand brooms | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | power source | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Pipe cutter to cut pipes | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | table vice | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Stock and die set | 2 | 2 | 2 | Nos | Yes | UNIT TYPE IS SET.
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | marking tools | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | file | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | bar bending machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | water pumps | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | vibrators | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | bar cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | raceways | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Cable glands | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | conduits (flexible and rigid) | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | lights | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | sockets | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | switches | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wires | 1 | 1 | 1 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | distribution boards/panels | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | cables | 1 | 1 | 1 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | cable trays | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Relays | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Starters | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Circuit breakers | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Megger | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Clamp/Tong tester | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wall chaser/groover / hand cutting machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | voltage tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | drilling machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | multi-meter | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | plumb-bob | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | mason’s line | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | measuring tape | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | spirit level | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wrenches | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | chisels/ wall chasing chisel | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | spanners (set) | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | hacksaws | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | pliers | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | hammers | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wire cutters | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wire strippers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | screw drivers | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Wooden Pegs | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | ladder | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | pointing Trowel | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Sand buckets | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Fire extinguishers | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Safety message boards | 5 | 5 | 6 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Reflective jackets | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | goggles | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | cotton hand gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Safety belt | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | safety shoes | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | helmet | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | screws | 100 | 100 | 100 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | clamps for conduits | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | power source | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Hand brooms | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Pipe cutter to cut pipes | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Stock and die set | 2 | 2 | 2 | Nos | Yes | UNIT TYPE IS SET.
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | table vice | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | marking tools | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | file | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | water pumps | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | bar bending machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | bar cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | vibrators | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | raceways | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | conduits (flexible and rigid) | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Cable glands | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | lights | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | switches | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | sockets | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wires | 1 | 1 | 1 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | cables | 1 | 1 | 1 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | distribution boards/panels | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | cable trays | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Starters | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Relays | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Circuit breakers | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Clamp/Tong tester | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | Megger | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wall chaser/groover / hand cutting machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | drilling machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | voltage tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | multi-meter | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | mason’s line | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | plumb-bob | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | spirit level | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | measuring tape | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wrenches | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | spanners (set) | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | chisels/ wall chasing chisel | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | hacksaws | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | hammers | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | pliers | 10 | 10 | 8 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wire strippers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | wire cutters | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0604 | Foreman - Electrician works (Construction) | 5 | screw drivers | 5 | 5 | 4 | Nos | Yes