## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hammers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | safety Tags | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | first aid box | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Fire prevention kit | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | welding glass | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | welding helmet | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Flashback arrestor | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hand and leg Guard leather | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wire brush | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Jump suit | 10 | 8 | 6 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | face shield | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | shovel | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety Message Board | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Particle mask / Nose mask | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Insulated rubber gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Ear plugs/ Ear Protection | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Digital Multimeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Ohmmeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Voltmeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Wattmeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Ammeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Neon tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Miniature Circuit Breaker (MCB) | 4 | 4 | 3 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Earth Leakage Circuit Breaker (ELCB) | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Mains breaker switch | 4 | 4 | 3 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Simple switchboard | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wall socket | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Sand buckets | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Fire extinguishers | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Reflective jackets | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety goggles | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cotton hand gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety belt | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | safety shoes | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | helmet | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | screws | 100 | 100 | 100 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | clamps for conduits | 50 | 50 | 50 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | flexible conduit | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | rigid conduits | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | power source | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hand brooms | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pipe cutter to cut pipes | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Stock and die set | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | table vice | 4 | 4 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | marking tools | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | file | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | water pumps | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar bending machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | vibrators | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | raceways | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | lights | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | switches | 25 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Halogen lamp | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Tungsten bulb/ CFL/FSL bulb | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Electrical socket (set) | 4 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Chasing machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | megger | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Tong tester | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | sockets | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cables | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wires | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wall chaser/groover / hand cutting machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | voltage tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | drilling machine | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | multi-meter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | mason’s line | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | plumb-bob | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | measuring tape | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spirit level | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wrenches | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spanners (set) | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | chisels/wall chasing chisel | 10 | 8 | 6 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hacksaws | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wire strippers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pliers | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Wire cutters | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Screw drivers (set) | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Sand buckets | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Fire extinguishers | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Reflective jackets | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | goggles | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cotton hand gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety belt | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | safety shoes | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | helmet | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | screws | 100 | 100 | 100 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | clamps for conduits | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | flexible conduit | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | rigid conduits | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | power source | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hand brooms | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pipe cutter to cut pipes | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Stock and die set(SET) | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | table vice | 4 | 4 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | marking tools | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | file | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | water pumps | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar bending machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | vibrators | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | raceways | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | lights | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | switches | 25 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | distribution boards/panels | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Starters | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cable trays | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Circuit breakers | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Relays | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | megger | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Clamp/Tong tester | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Cable glands | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | sockets | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wires | 2 | 2 | 2 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cables | 2 | 2 | 1 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | drilling machine | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wall chaser/groover / hand cutting machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | voltage tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | multi-meter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | mason’s line | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | plumb-bob | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | measuring tape | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spirit level | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wrenches | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | chisels/wall chasing chisel | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spanners (set) | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hacksaws | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hammers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wire strippers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pliers | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Wire cutters | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Screw drivers(SET) | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hammers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | safety Tags | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | first aid box | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Fire prevention kit | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | welding glass | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | welding helmet | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Flashback arrestor | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hand and leg Guard leather | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wire brush | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Jump suit | 10 | 8 | 6 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | face shield | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | shovel | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety Message Board | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Particle mask / Nose mask | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Insulated rubber gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Ear plugs/ Ear Protection | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Digital Multimeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Ohmmeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Wattmeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Voltmeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Ammeter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Neon tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Miniature Circuit Breaker (MCB) | 4 | 4 | 3 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Earth Leakage Circuit Breaker (ELCB) | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Mains breaker switch | 4 | 4 | 3 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Simple switchboard | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wall socket | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Sand buckets | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Fire extinguishers | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Reflective jackets | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety goggles | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cotton hand gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety belt | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | safety shoes | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | helmet | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | screws | 100 | 100 | 100 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | clamps for conduits | 50 | 50 | 50 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | flexible conduit | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | rigid conduits | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | power source | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hand brooms | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pipe cutter to cut pipes | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Stock and die set | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | table vice | 4 | 4 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | marking tools | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | file | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | water pumps | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar bending machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | vibrators | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | raceways | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | lights | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | switches | 25 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Halogen lamp | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Tungsten bulb/ CFL/FSL bulb | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Electrical socket (set) | 4 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Chasing machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | megger | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Tong tester | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | sockets | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wires | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cables | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wall chaser/groover / hand cutting machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | drilling machine | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | voltage tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | multi-meter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | mason’s line | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | plumb-bob | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spirit level | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | measuring tape | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wrenches | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spanners (set) | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | chisels/wall chasing chisel | 10 | 8 | 6 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hacksaws | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pliers | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wire strippers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Wire cutters | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Screw drivers (set) | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Sand buckets | 5 | 5 | 5 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Fire extinguishers | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Reflective jackets | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | goggles | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cotton hand gloves | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Safety belt | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | safety shoes | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | helmet | 30 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | screws | 100 | 100 | 100 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | clamps for conduits | 50 | 50 | 40 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | flexible conduit | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | rigid conduits | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | power source | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hand brooms | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pipe cutter to cut pipes | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Stock and die set(SET) | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | table vice | 4 | 4 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | marking tools | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | file | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | water pumps | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar bending machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | bar cutting machine | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | vibrators | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | raceways | 10 | 10 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | lights | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | switches | 25 | 25 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | distribution boards/panels | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cable trays | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Starters | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Relays | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Circuit breakers | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | megger | 1 | 1 | 1 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Clamp/Tong tester | 5 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Cable glands | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | sockets | 20 | 20 | 20 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wires | 2 | 2 | 2 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | cables | 2 | 2 | 1 | Bundle | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wall chaser/groover / hand cutting machine | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | drilling machine | 3 | 3 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | voltage tester | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | multi-meter | 2 | 2 | 2 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | mason’s line | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | plumb-bob | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spirit level | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | measuring tape | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wrenches | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | spanners (set) | 6 | 5 | 4 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | chisels/wall chasing chisel | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hacksaws | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Hammers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Pliers | 15 | 12 | 10 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | wire strippers | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Wire cutters | 10 | 8 | 7 | Nos | Yes
Construction Skill Development Council of India | CON/Q0603 | Construction Electrician - LV | 4 | Screw drivers(SET) | 6 | 5 | 4 | Nos | Yes