## EMT-Q2301
S.No. | Equipment Name | Minimum number of Equipment required (per batch of 30 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[6 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | Bp Apparatus Manual | 5 | Absolute numbers | Yes | Chrome-plate brass air release valve 300 mmHg manometer | Yes | 5
2 | Bp Apparatus Automatic | 5 | Absolute numbers | Yes |  | Yes | 5
3 | Puloxymeter | 5 | Absolute numbers | Yes | Finger Pulse Oximeter CE&FDA Certified Color Display | Yes | 5
4 | Glucometer | 2 | Absolute numbers | Yes | Standerd OEM with ISI / CE certification | Yes | 2
5 | Spine Cord With Straps | 4 | Absolute numbers | Yes | Standard Product | Yes | 4
6 | Headmotion Immobilizer | 4 | Absolute numbers | Yes | Standerd OEM with ISI / CE certification | Yes | 4
7 | Stair Chair | 1 | Absolute numbers | Yes | Standerd OEM with ISI / CE certification | Yes | 1
8 | Scoops Structure | 2 | Absolute numbers | Yes | Standerd OEM with ISI / CE certification | Yes | 2
9 | Helmet | 2 | Absolute numbers | Yes | Standerd OEM with ISI / CE certification | Yes | 2
10 | Non Rebreath Face Mask | 2 | Absolute numbers | Yes |  | Yes | 2
11 | Partial Rebreath Face Mask | 5 | Absolute numbers | Yes |  | Yes | 5
12 | Ventury Mask | 5 | Absolute numbers | Yes |  | Yes | 5
13 | Nibulization Mask | 10 | Absolute numbers | Yes |  | Yes | 10
14 | Oxygen Cylinder B Type | 1 | Absolute numbers | Yes |  | Yes | 1
15 | Oxygen Cylinder D Type | 1 | Absolute numbers | Yes |  | Yes | 1
16 | Humidifier | 3 | Absolute numbers | Yes |  | Yes | 3
17 | Regulator | 5 | Absolute numbers | Yes |  | Yes | 5
18 | Nibulizer | 1 | Absolute numbers | Yes |  | Yes | 1
19 | Suction Machine Automatic | 2 | Absolute numbers | Yes |  | Yes | 2
20 | Laryngosscope With Blades | 2 | Absolute numbers | Yes |  | Yes | 2
21 | Iv Cannula | 2 | Absolute numbers | Yes |  | Yes | 2
22 | Iv Fluid | 5 | Absolute numbers | Yes |  | Yes | 5
23 | Malleble Splint | 5 | Absolute numbers | Yes |  | Yes | 5
24 | Thermometer | 10 | Absolute numbers | Yes |  | Yes | 10
25 | Cervical Collar Large | 6 | Absolute numbers | Yes |  | Yes | 6
26 | Cervical Collar Medium | 6 | Absolute numbers | Yes |  | Yes | 6
27 | Cervical Collar Small | 6 | Absolute numbers | Yes |  | Yes | 6
28 | Oropharyngal Airways | 3 | Absolute numbers | Yes |  | Yes | 3
29 | Nasopharyngal Airways | 3 | Absolute numbers | Yes |  | Yes | 3
30 | Nasal Cannila Adult | 5 | Absolute numbers | Yes |  | Yes | 5
31 | Nasal Cannila Pediatric | 2 | Absolute numbers | Yes |  | Yes | 2
32 | Simple Fask Mask Adult | 3 | Absolute numbers | Yes |  | Yes | 3
33 | Simple Fask Mask Pediatry | 5 | Absolute numbers | Yes |  | Yes | 5
34 | Reserviour Bag | 5 | Absolute numbers | Yes |  | Yes | 5
35 | Laryngal Mask Airway | 4 | Absolute numbers | Yes | A softer silicone cuff throat irritation and stimulation. High seal pressure - up to 30 cm H20 endotracheal intubation is not required. | Yes | 4
36 | Flow Meter | 3 | Absolute numbers | Yes |  | Yes | 3
37 | Suction Pump | 2 | Absolute numbers | Yes |  | Yes | 2
38 | Suction Catheter Hard Tip | 2 | Absolute numbers | Yes |  | Yes | 2
39 | Suction Catheter Hard Tip All Size | 3 | Absolute numbers | Yes |  | Yes | 3
40 | Stillet | 2 | Absolute numbers | Yes |  | Yes | 2
41 | Endotracheal Tube All Size | 2 | Absolute numbers | Yes |  | Yes | 2
42 | Macrodrip Iv Set | 3 | Absolute numbers | Yes |  | Yes | 3
43 | Microdrip Iv Set | 3 | Absolute numbers | Yes |  | Yes | 3
44 | Syringes | 3 | Absolute numbers | Yes |  | Yes | 3
45 | Bandages | 3 | Absolute numbers | Yes |  | Yes | 3
46 | Inhaler | 3 | Absolute numbers | Yes |  | Yes | 3
47 | Spacer | 1 | Absolute numbers | Yes |  | Yes | 1
48 | Cpr Mannequin Adult | 5 | Absolute numbers | Yes |  | Yes | 5
49 | Cpr Mannequin Infant | 5 | Absolute numbers | Yes |  | Yes | 5
50 | Adult Airway Mannequin | 1 | Absolute numbers | Yes |  | Yes | 1
51 | Torch | 5 | Absolute numbers | Yes |  | Yes | 5
52 | Pocket Mask Adult | 10 | Absolute numbers | Yes |  | Yes | 10
53 | Adult Ambu Bag With Mask | 5 | Absolute numbers | Yes |  | Yes | 5
54 | Infant Ambu Bag With Mask | 5 | Absolute numbers | Yes |  | Yes | 5
55 | Automated External Defibrilator | 2 | Absolute numbers | Yes | 5S to Charge to 360J with Battery. 100 charge/discharge with fully charged new battery | Yes | 2