## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | LAN Cable CAT 5 OR CAT 6 | 50 | 40 | 30 | Metre | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Crimping Tool | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Desktop Working Condition | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Digital Multimeter Sunshine DT920E | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Dot Matrix Printer | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | ESD Gloves | 6 | 5 | 4 | Pairs | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Ink Jet Printer | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Insulation Tape | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Lan Tester | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Laptop Working Condition | 5 | 5 | 5 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | RT 809 H Programmer | 1 | 1 | 1 | Boxes | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Multi-Function Laser Printer | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Network Switch | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Generic PC Diagnostic Card 4-Digit ISA PCI POST Analyzer Tester | 4 | 4 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Router | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Screw Driver Set | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Gilhot U v 223 flux paste White Welding Paste (100 g) | 6 | 5 | 4 | Boxes | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Soldering Iron Quick 936 Or Yihua 936 | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Gilhot U v 223 flux pasteYellow Welding Paste (100 g) | 6 | 5 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Korad KA 3050 D Dc Power Supply 30V 5AMP | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Microscope Machine MC75T Trinocular | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | UNI-T UTD2102CEX Digital 2 Channels 1G 100MHz 7 inch TFT LCD Storage Oscilloscope | 1 | 1 | 1 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | SMD Rework Station Quick 857Dw+ | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Quick 861dw SMD Rework Station | 1 | 1 | 1 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | De Soldering Wire (Goodwick CP 2015) | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Soldering Wire | 5 | 5 | 5 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Mechanic IMAX 9 (20 IN 1 ) Blede Cutter | 5 | 5 | 5 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Tweezer ( Normal ) | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Soldering Iron Machine T 12 X | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Computer Scrap Board | 20 | 18 | 16 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Electric Screwdriver Set | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Universal RT 809 H Programmer | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | SVOD 3 Programmer | 1 | 1 | 1 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | BGA Rework Station ZM-R5860 | 1 | 1 | 1 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | eMMC Programmer ( Esay Jtag Plus Box ) | 1 | 1 | 1 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | RAM Tester | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | CPU Tester | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | KQCPET6 V8 LPC-DEBUG Card Cell Phone Motherboard Diagnostic Test DDR3/DDR4 Desktop PC Memory Slot Debug For PCI PCI-E mSATA | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | AGP Tester | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | PCI / PCI EX Tester | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Wire Triper ( Cutter ) | 5 | 5 | 5 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | ENIT SIO Programmer | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Aluminium Foil | 8 | 6 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | VGA Tester | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Antiheat ESD Mate | 5 | 5 | 5 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Jumper wire | 10 | 10 | 10 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | fabrication glue | 4 | 4 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Multi charger connector set | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Dispenser bottle | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Mili Ohm short circuit finder | 4 | 4 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Shortkiller ( Sunshine Or Machine ) | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Martview RB-01 Reballing Stencil Tin Net Full Set | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Boot cable for DC Machine | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Laptop Scrap Board | 20 | 18 | 16 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Rosin Paste | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Mechanic UV Glue ( Green ) | 4 | 4 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | UV Light | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Mechanic XG-50 50gm SMD Solder Paste | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | RELIFE RL-404 SOLDER PPD PASTE 138°C | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | RELIFE RL-406 HIGH TEMPERATURE LEAD-FREE TIN 227 °C | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Microscope 0.5X Lens | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Sunshine Silver Jump Wire(SS-007 E) 0.007 MM | 4 | 4 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | USB Fast Charger 3.0 AMP | 4 | 4 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Bornovo Schantic Diagram Activation | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | WTS 599B Soldering Iron Tip Copper Wire Cleaner Stand | 8 | 6 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Crave Tweezers | 10 | 8 | 6 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | RJ45 connector (Loose) | 50 | 45 | 40 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Mechanic 850 PCB Cleaner | 5 | 5 | 5 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Alma Materr for PCB Clean | 3 | 3 | 3 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Desoldering Pump SolderStuck | 2 | 2 | 2 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | SMPS Working For Checking | 4 | 4 | 4 | Units | Yes
Electronics | ELE/Q4601 | Field Technician - Computing & Peripherals | 4 | Bootable Pen Drive 8 GB For Uploading OS | 4 | 4 | 4 | Units | Yes