## Sheet
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK
Agriculture | AGR/Q4203 | Milk Tester | 4 | Weighing Scale | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Fat Testing Centrifugal machine | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Lactometer | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | pH meters | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Sterilizers | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Flasks | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Refracto Meter | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | TDS Meter | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Sanitizers | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Glasswares | 1 | 1 | 1 | Nos | yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Dead Weight | 1 | 1 | 1 | Nos | No
Agriculture | AGR/Q4203 | Milk Tester | 4 | Measurings Jars | 1 | 1 | 1 | Nos | No
Agriculture | AGR/Q4203 | Milk Tester | 4 | Reagents | 1 | 1 | 1 | Nos | Yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Plungers | 1 | 1 | 1 | Nos | yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Dippers | 1 | 1 | 1 | Nos | yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Pressure Cooker/ Auto Clave | 1 | 1 | 1 | Nos | No
Agriculture | AGR/Q4203 | Milk Tester | 4 | Kit for testing adulteration | 1 | 1 | 1 | Nos | yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | RM SET | 1 | 1 | 1 | Nos | yes | Should be available either in the classroom or at Demonstration area
Agriculture | AGR/Q4203 | Milk Tester | 4 | Hot plate | 1 | 1 | 1 | Nos | No
Agriculture | AGR/Q4203 | Milk Tester | 4 | Water Bath | 1 | 1 | 1 | Nos | No