## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Compression gauge (Diesel and Petrol Engine) with suitable adapters. | 1 | 1 | 1 | No | Yes | unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Brake Fluid tester | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Fuel Pressure tester (Petrol) | 1 | 1 | 1 | No | Yes | unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Motor Cycle (In running condition)-(BS6) | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Scooty (In running condition)-(BS6) | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Motor Cycle (In running condition) Liquid Cooled Engine | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Motor Cycle (In running condition)-with Carburetor | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Battery tester | 1 | 1 | 1 | No | No | availability is optional
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Digital Thermometre (Industrial) | 1 | 1 | 1 | No | Yes | range -50 to 300 degree C
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Electrical Solder (Iron/ gun) | 1 | 1 | 1 | No | Yes | unit type in set 60W
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Scan Tool | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Adjustable Wrench | 1 | 1 | 1 | No | Yes | 450mm
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Piston ring expander | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Automotive Valve Stem Seals Installation Removal Tool | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | C Clamp | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Heavy Duty Riveter | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hacksaw Frame with Blade | 1 | 1 | 1 | No | Yes | unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Tap and Die set | 1 | 1 | 1 | Nos | Yes | unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Screw Extractor set | 1 | 1 | 1 | No | Yes | unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Fuel canister (20l) | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Piston ring compressor | 1 | 1 | 1 | No | No
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Drain Pan/ Tray Set | 1 | 1 | 1 | No | Yes | unit type set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Square Drive Socket, Rechet and Extensions Set | 1 | 1 | 1 | No | Yes | unit type in set 3/8" Sq. Dr Standard with Ratchet & Extensions (Size 8-16 mm)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Square Drive Deep Socket Set | 1 | 1 | 1 | No | Yes | unit type in set 1/2" Sq. Dr Standrad with Ratchet & Extensions (Size 8-34 mm)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Magnetic Pickup Tool (Bar) | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Oil pressure gauge with suitable adapters (0-10kg/cm2) | 1 | 1 | 1 | No | Yes | unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Torque dial gauge | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Screw Pitch Gauge | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Measuring Can Set | 1 | 1 | 1 | Nos | Yes | 0 - 1000ml, 1ltr, 3 ltr, 5ltr
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Non contact digital thermometer. | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | plastiguage | 1 | 1 | 1 | No | Yes | unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | ear plug | 30 | 25 | 20 | Pair | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hard Hats | 10 | 8 | 6 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Dust Mask | 30 | 25 | 20 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Wheel Choke | 1 | 1 | 1 | No | Yes | unit type in set set of four
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Safety/5S-Sign boards | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Safety cone to block area of working | 4 | 4 | 4 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Vehicle or Aggregate - Special Service Tools (Manufacturer specific according to Vehicle / aggregate) | 1 | 1 | 1 | No | Yes | unit type in set Related to vehicle safety and maintenance
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Vehicle or Aggregate - Special Service Tools (Manufacturer specific according to Vehicle / aggregate) | 1 | 1 | 1 | No | Yes | Engine, Transmission, Suspension, Brake, Steering, Axles and Wheels (For Repair and Overhaul)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Micrometre Set | 3 | 2 | 2 | No | Yes | (Size :-0~25, 25~50, 50~100 mm)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Depth Gauage | 1 | 1 | 1 | No | Yes | 150mm
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | V- Block | 1 | 1 | 1 | No | Yes | ( Set of 2 - 125x75x75 mm) unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Right angle | 1 | 1 | 1 | No | Yes | ( 150x200 mm)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Surface plate | 1 | 1 | 1 | No | Yes | 400 x 400 mm
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Straight edge | 1 | 1 | 1 | No | Yes | 300mm
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hand Spring scale | 1 | 1 | 1 | No | Yes | 5 ~ 10 kgs
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hot Air Gun | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Two Wheeler Lift (Capacity -0.5 T ) | 2 | 2 | 2 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Compressed Air Dryer | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Two Wheeler Wheel Balancer | 1 | 1 | 1 | No | Yes | availability is Optional
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Tyre Changer | 1 | 1 | 1 | No | Yes | availability is Optional
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Smoke Extractor | 1 | 1 | 1 | No | Yes | availability is Optional
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | DG Set | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Aggregate and parts display tables (wooden or Fabricated) | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Measuring Tape | 2 | 2 | 2 | No | Yes | 5 mtr
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Steel Rule | 1 | 1 | 1 | No | Yes | 12" & 24"
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Electrical circuit board (Lighting) | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Air Blow Gun | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Angle Grinder with Blades (Electric) | 1 | 1 | 1 | No | Yes | Max Disc Diameter: 100 mm, 850 Watt, Heavy Duty Small Angle Grinder
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Trash Bin | 1 | 1 | 1 | No | Yes | 80 ltr
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Service, Repair, Wiring, Diagnostic Manuals | 1 | 1 | 1 | No | Yes | As per Vehicle/component/Accessory manufacturer
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Bench Vice with Soft jaws | 1 | 1 | 1 | No | Yes | 100mmx4"
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Almirah for keeping tools | 1 | 1 | 1 | No | Yes | 6' Height x 3'Width x 1.75' Depth and 18 Gauge
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Snap ring expander | 3 | 2 | 2 | No | Yes | (Internal -130MM-5"180MM-7"and external-130MM-5",180MM-7") unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Needle file Set | 3 | 2 | 2 | No | Yes | unit type in set 6 Pcs
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Parts Tray | 3 | 2 | 2 | No | Yes | (18x15x4)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Electrical circuit board (Starting, charging ) | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Torx Screw Driver Set | 3 | 2 | 2 | No | Yes | (T8,T10,T15,T20,T25) unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Inspection LED lamp | 3 | 2 | 2 | No | Yes | (8W, 220V -Rechargeable Type)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Mechanics Creeper | 3 | 2 | 2 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Cold Chisel set | 3 | 2 | 2 | No | Yes | 7/8"/22MM
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Punch set | 3 | 2 | 2 | No | Yes | 8MM-5/16 X 115MM-4 1/2
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hex Key Set | 3 | 2 | 2 | No | Yes | 10 Pcs
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | T Handle Hex key Set- | 3 | 2 | 2 | No | Yes | 8 PC 2.0,2.5,3.0,4.0,5.0,6.0,8.0,10.0mm
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Set Of Screw Drivers | 3 | 2 | 2 | No | Yes | (Philps and flat) Insulated
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Set Of Screw Drivers | 3 | 2 | 2 | No | Yes | (Philps and flat)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Ball Pein Hammer Set | 3 | 2 | 2 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Combination Pliers | 3 | 2 | 2 | No | Yes | 8"
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Plastic Hammer | 3 | 2 | 2 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Rubber Hammer | 3 | 2 | 2 | No | Yes | 680GM - 24Oz
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Set of Ring Spanners | 3 | 2 | 2 | No | Yes | 6x7 to 30x32 unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Set of open end Spanners3 | 2 | 2 | 2 | No | Yes | 6x7 to 30x32 unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Set of Combination Ratchet Spanners | 3 | 2 | 2 | No | Yes | 8mm - 19mm unit type in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Set of Flexi head Combination ratchet Spanners | 3 | 2 | 2 | No | Yes | 8mm - 19mm
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Square Drive Socket, Ratchet and Extension set | 3 | 2 | 2 | No | Yes | (1/4'' (6-14 mm) UNIT TYPE IN SET
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Automatic Transmission Fluid | 5 | 5 | 5 | Litres | Yes | (as recommended by manufacturer)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Brake Oil | 1 | 1 | 1 | Litres | Yes | (as recommended by manufacturer)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Coolant | 20 | 20 | 20 | Litres | Yes | (as recommended by manufacturer)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Nuts, Bolts, Rivets, O ring, Gaskets & Packings | 1 | 1 | 1 | No | Yes | QUANTITY As per Specified by Manufacture (One time usable as specified by manufacturer)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Insulation Tape | 5 | 5 | 5 | No | Yes | PVC
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Grease | 1 | 1 | 1 | Kg | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Degreaser | 1 | 1 | 1 | Litres | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Tools Trolley | 3 | 2 | 2 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Wire Brush | 3 | 2 | 2 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Long Nose Pliers | 3 | 2 | 2 | No | Yes | 6"
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Duster for white board | 2 | 2 | 2 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Speakers for Computer/Laptop | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Mechanical-Radiator, Water Pump, Clutch Plate, Brake Pads, Brake Shoes, Chain Set, Caliper, Brake Disc, Brake Drum,etc. | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Engine Oil filter | 1 | 1 | 1 | No | Yes | Different types available for two wheeler
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Fuel Filter | 1 | 1 | 1 | No | Yes | Different types available for two wheeler
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Electrical - Cluster Meter, Starter Motor, Sensors, Spart plugs, bulbs, Switches, Fuel Pump, ignition coil, pickup coil, etc. | 1 | 1 | 1 | No | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Falied parts display with cause & effect analysis - clutch plate, piston, prop shaft, diff gears, cut tyres, bent wheel rim etc…) | 1 | 1 | 1 | No | Yes | (as recommended by manufacturer)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Engine Oil | 15 | 15 | 15 | Litres | Yes | (as recommended by manufacturer)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Gear Oil | 10 | 10 | 10 | Litres | Yes | (as recommended by manufacturer)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hand Gloves | 75 | 60 | 50 | Pair | Yes | Lint free
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hand Gloves | 75 | 60 | 50 | Pair | Yes | Nitrile
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hand Gloves | 75 | 60 | 50 | Pair | Yes | Palm side PU coated
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | LCD projector with Screen | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Tyre Inflater | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Duster for white board | 2 | 2 | 2 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Spark Plug Cleaning Machine | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Air compressor | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Air Fiter | 1 | 1 | 1 | Nos | Yes | Different types available for two wheeler
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Oil collection tray | 2 | 2 | 2 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Markers (Black, Blue, Red & Green colors) | 2 | 2 | 2 | Nos | Yes | 2 each colour
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Computer/Laptop with internet connectivity | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hand Held Drill machine with Dril bits (Electric) | 1 | 1 | 1 | Nos | Yes | Power: 380 W Speed: 0-2600 rpm
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Class Room | 300 | 300 | 300 | Sqft | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Battery charger | 1 | 1 | 1 | Nos | Yes | 12V
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Trainer Chair & Table | 1 | 1 | 1 | Nos | Yes | in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | AC for Class Rooms | 1 | 1 | 1 | Nos | Yes | As per room size in tons
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Brake Fluid tester | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Overall/Apron | 10 | 8 | 6 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Safety Shoes | 30 | 30 | 30 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Fire extinguisher | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | First Aid Box | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Student Chair & Table | 30 | 25 | 20 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Exhaust System | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Clamp Meter | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hand gloves | 150 | 120 | 100 | Pair | Yes | Cotton
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Front and Rear Axle | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Brake System | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Trash Bin | 1 | 1 | 1 | Nos | Yes | 15 ~20 ltr.
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Dial Indicator with magnetic stand | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Bench grinder | 1 | 1 | 1 | Nos | Yes | (Twin wheel-6" Dia)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Set Of Feeler Gauge | 3 | 2 | 2 | Nos | Yes | in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Torque wrench | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Chart Holder | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Motor Cycle Engine (mounted on stand) | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Pin up board | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Exhaust Gas Analyser Petrol | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Work tables (Wooden or Fabricated) | 2 | 2 | 2 | Nos | Yes | 120 cmx90cmx80cm (app.) Strong enough to carry min 200 Kg Load
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Oil Can | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Digital Multimeter | 5 | 4 | 3 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Torque wrench | 3 | 2 | 2 | Nos | Yes | (0.5~3.5 kgm, 3~14 kgm, 5~22 kgm) in set
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | White Board | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Suspension System | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Parts washer 60l | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Hand Pallet Truck | 1 | 1 | 1 | Nos | Yes | (300-500 kg)
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Cylinder bore gauge | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Safety goggles | 30 | 30 | 30 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Engine with Clutch and Transmission (mounted on stand) | 1 | 1 | 1 | Nos | Yes
Automotive Skills Development Council | ASC/Q1411 | Two Wheeler Service Technician | 4 | Scooty Engine with Automatic transmission (mounted on stand) | 1 | 1 | 1 | Nos | Yes