## Sheet
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Shield Stand | 2 | 2 | 2 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | ETO sealer | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Defibrilator | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Pacemaker(temporary) | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Dressing trolley | 2 | 2 | 2 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Pressure Ejector | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Lead Apron (Full size) | 2 | 2 | 2 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Suction Apparatus | 2 | 2 | 2 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Oxygen flowmeter | 2 | 2 | 2 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Thyroid shield | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Sterilizer (Small) | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | IABP( intra aortic ballon Pump) machine | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | ACT(Anti clotting timer) Machine | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Mechanical Ventilator | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | GE optima (C-Arm ) machine | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Digi infusion pump | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Blood spillage kit | 2 | 2 | 2 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Refrigerator | 1 | 1 | 1 | units | Yes
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Big Tray | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Small Bowl | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Big Bowl | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Medium Bowl | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | BP Handle #3 | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Sponge Holder | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Towel Clip | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Small Artery Forceps Curved | 5 | 5 | 5 | units | Yes | CAG TRAY
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Straight Scissor | 5 | 5 | 5 | units | Yes | PTCA Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Artery Forceps Big | 5 | 5 | 5 | units | Yes | PTCA Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Artery Forceps Small | 5 | 5 | 5 | units | Yes | PTCA Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Needle Holder | 5 | 5 | 5 | units | Yes | PTCA Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Straight Scissor Big | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Curved Scissor Big | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Curved Scissor Small | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Medium Straight Scissor | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Allies Forceps | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Small Artery Forceps | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Medium Artery Forceps | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Staraight Artery Forceps - Small | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Staraight Artery Forceps - Medium | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | BP handle | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Tooth Forceps - Big | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Tooth Forceps - Small | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Non Tooth Forceps - Big | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Non Tooth Forceps - Small | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Betractor Medium | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Betractor Big | 5 | 5 | 5 | units | Yes | PPI Tray
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Scrubbing sink | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Trolley | 3 | 3 | 3 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Cath Lab Dress | 3 | 3 | 3 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Nursing Manikin | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Hospital Bed | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Cardiac Table | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Mattress | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Bed Sheet | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Pillow | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Pillow Cover | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Wheel Chair | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Stretcher with wheels | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Bed Pan (Male) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Bed Pan (Female) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Weighing Machine | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Kidney Tray | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | B.P. Monitoring Machine | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Oxygen Mask | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Stethoscope | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Gown - PPE | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Patient Dress Male | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Patient Dress Female | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Liquid Soap Bottle | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Mask - Packet | 1 | 1 | 1 | units | Yes | 1 packets, Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Shoe Cover - Packet | 1 | 1 | 1 | units | Yes | 1 packets, Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Hair Cap - Packet | 1 | 1 | 1 | units | Yes | 1 packets, Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Different Colur Plastic Bags With Dustbins (Red) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Different Colur Plastic Bags With Dustbins (Blue) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Different Colur Plastic Bags With Dustbins (Black) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Different Colur Plastic Bags With Dustbins (Yellow) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Uro Bag | 3 | 5 | 5 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Sample Collection Bottle | 3 | 5 | 5 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Gauze Piece (4X4) | 3 | 5 | 5 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Betadine Solution Bottle | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Cotton Rolls | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Cotton Absorbent | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Normal Saline Bottle | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Micropore | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | CPR Manikin | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Registers (Attendance) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Registers (Records) | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Marker | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Duster | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | White Board | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Projector | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Extension Cord | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Speaker | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Student Chair | 2 | 2 | 2 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Fire Extinguisher | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Screens for Privacy | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | ECG Machine | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | TMT Machine | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Echo Machine | 1 | 1 | 1 | units | Yes | Cath Lab
Healthcare Sector Skill Council | HSS/Q0101 | Cardiac Care Technician | 4 | Holter | 1 | 1 | 1 | units | Yes | Cath Lab