## Sheet
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Semiautoanalyzer & Test reagents | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Spectrophotometer / Colorimeter | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Registers for documentation | 10 | 8 | 8 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Bio hazard bags for Waste Disposal | 5 | 5 | 5 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Urine Analyzer | 10 | 8 | 8 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Staining solution / reagents / Romanowsky stains | 5 | 5 | 5 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Buffer | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Modified Neubers chamber | 10 | 10 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | RBC pipette | 30 | 25 | 20 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | WBC Pipette | 30 | 25 | 20 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Pasteur Pipette | 10 | 8 | 6 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Diluting fluids | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Glass tubes | 15 | 13 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Urine Testing strips | 30 | 25 | 20 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Occult blood strips | 30 | 25 | 20 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Bio hazard bags for Waste Disposal / Blue sharps container for waste disposal | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Bendict reagent | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Glacial acetic acid | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Ammonium sulphate | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Sodium nitroprusside | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Ammonia | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Barium chloride | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Fouchet reagent | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Sulphur powder | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Ehrlich reagent | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Spirit Lamp | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Glass Slides, coverslips & mounting media | 20 | 17 | 14 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Cedarwood oil | 2 | 2 | 2 | bottles | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Blotting paper for BT | 30 | 25 | 21 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Capillary tube for CT | 10 | 8 | 7 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Westergren tubes & sodium citrate reagent | 30 | 25 | 21 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Sahli's Hemoglobinometer | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Simple Balance | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Semiautomated analyzer - Micros - 3 part differential | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Staining solution / reagents / Gram stain / AFB stain / KOH stain | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Sample Container / Swab sticks / culture bottles / Syringe & Needles | 10 | 8 | 8 | of each | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Sterile Loops | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Petridish | 10 | 8 | 7 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Antibiotic discs | 10 | 8 | 7 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Culture media | 10 | 8 | 7 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Biochemical tests | 10 | 8 | 7 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Rapid test kits for Malaria, Dengue, HIV, HCV, Typhoid, Pregnancy | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Laminar Flow | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Autoclave - separate for media sterilization and waste disposal | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Stopwatch | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Normal Saline | 10 | 8 | 7 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Pipettes Glass - (1 mL, 2 mL, 5 mL, 10 mL) Micropipettes -( 5 uL, 25 uL, 50 uL, 100 uL, 1000 uL) | 5 | 4 | 3 | for each volume | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Gloves | 30 | 25 | 21 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Beaker / glass flask | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Distilled water | 5 | 4 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Hypochlorite solution | 5 | 4 | 4 | litres | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Tissue paper / Filter paper / Cotton | 10 | 10 | 10 | packets | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Centrifuge | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Incubator | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Refrigerator | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Tube racks / slide racks | 3 | 3 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Bendict reagent | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Glacial acetic acid | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Ammonium sulphate | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Sodium nitroprusside | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Ammonia | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Fouchet reagent | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Sulphur powder | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Reagents for Chemical tests: Ehrlich reagent | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q0301 | Medical Laboratory Technician | 4 | Pipettes Glass - (1 mL, 2 mL, 5 mL, 10 mL) Micropipettes -( 5 uL, 25 uL, 50 uL, 100 uL, 1000 uL) | 5 | 4 | 3 | for each volume | Yes