## ELE_Q5903
SSC | QP Code | Job Role Name | Version | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 40 trainees) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[13 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Safety glasses | 13.3333 | 10 | 8 | 6 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Head protection | 13.3333 | 10 | 8 | 6 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Rubber gloves | 13.3333 | 10 | 8 | 6 | Yes | Pair | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Safety footwear | 13.3333 | 10 | 8 | 6 | Yes | Pair | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Fire Extinguisher | 4 | 3 | 2 | 1 | Yes | Nos | Co2 type fire extinguisher
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | First aid kit with all contents | 2.6667 | 2 | 1 | 1 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Drilling Machine | 4 | 3 | 2 | 1 | Yes | Nos | Power driver , hand held drilling machine
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Hammer | 13.3333 | 10 | 8 | 6 | Yes | Nos | Ball peen hammer, 0.5 kg
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Chisel | 13.3333 | 10 | 8 | 6 | Yes | Nos | 55-57 HRC, 150 mm
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Wire cutter | 13.3333 | 10 | 8 | 6 | Yes | Nos | Heavy duty
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Screw driver | 13.3333 | 10 | 8 | 6 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Hand crimping tool | 13.3333 | 10 | 8 | 6 | Yes | Nos | 22-28 AWG
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Torque wrench | 6.6667 | 5 | 4 | 3 | Yes | Nos | 0-50, 50-100 kgf
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Plier | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Earth tester | 6.6667 | 5 | 4 | 3 | Yes | Nos | 0-1150 Ohm
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Multimeter | 6.6667 | 5 | 4 | 3 | Yes | Nos | DC 10 A
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Hydrometer | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Voltmeter | 6.6667 | 5 | 4 | 3 | Yes | Nos | Digital voltmeter
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Solar array | 4 | 3 | 2 | 1 | Yes | Nos | Total Array Wattage 500Watt
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Charge controller | 4 | 3 | 2 | 1 | Yes | Nos | MPPT & PWM, 12V - 10A/20A/ 30A
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Battery | 4 | 3 | 2 | 1 | Yes | Nos | 100Ah
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Inverter | 4 | 3 | 2 | 1 | Yes | Nos | 500VA / 650VA
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Generation meter | 4 | 3 | 2 | 1 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Generation display unit | 4 | 3 | 2 | 1 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | LED Lightings | 13.3333 | 10 | 9 | 9 | Yes | Nos | Various types of Bulbs/Tubelights/Street Light with atleast 3 each
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Connecting Wires | 2.6667 | 2 | 2 | 2 | Yes | Nos | Copper Wire 2MM Dia Rolls
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Safety helmet | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Spanner set | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Wire stripper | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Allen Key Set | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Measuring Tape | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Clamp meter | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Pyranometer | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Cable lug crimping tool | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard
Electronics Sector Skills Council of India | ELE/Q5903 | Solar LED Technician | 4 | 4 | Level | 6.6667 | 5 | 4 | 3 | Yes | Nos | Standard